🔬 Skin Disease Classifier

Project Documentation

| Name | Roll Number |
| --- | --- |
| Humna Imran | 2023-BS-AI-017 |
| Qandeel Asim | 2023-BS-AI-037 |
| Eman Tahir | 2023-BS-AI-015 |
| Ayesha Imran | 2023-BS-AI-061 |

Deep Learning Ensemble for Automated Dermatological Image Classification

| Project | Skin Disease Image Classifier |
| --- | --- |
| Framework | TensorFlow / Keras |
| Architecture | Multi-backbone CNN Ensemble |
| Environment | Google Colab / Local Jupyter |
| Status | Complete — Training + Inference Ready |

1. PROJECT OVERVIEW

## 1.1  Purpose

This project implements a multi-backbone convolutional neural network (CNN) ensemble for automated skin disease classification from dermoscopic or clinical photographs. The system is designed to assist dermatologists and medical practitioners by providing ranked differential diagnoses from uploaded images, thereby supporting faster and more consistent clinical decision-making.

## 1.2  Key Objectives

- Train multiple CNN backbones on a labelled skin disease image dataset

- Apply class balancing, data augmentation, and two-stage fine-tuning for robust generalisation

- Combine individual model predictions via ensemble averaging to maximise accuracy

- Provide Test-Time Augmentation (TTA) to reduce prediction variance at inference

- Deliver an interactive Jupyter widget frontend for real-time clinical use

## 1.3  Scope

The notebook covers the full machine learning pipeline from raw image folders through to an interactive deployment-ready widget, including dataset validation, preprocessing, model training, evaluation, and inference. It is designed to run in Google Colab with GPU acceleration or on a local machine.

2. SYSTEM ARCHITECTURE

## 2.1  High-Level Pipeline

The system follows a standard supervised image-classification workflow with additional ensemble and TTA layers:

| Pipeline Stage | Description |
| --- | --- |
| Stage 1 | Dataset Validation & Directory Setup |
| Stage 2 | Library Imports & GPU Configuration |
| Stage 3 | Backbone Registry Definition |
| Stage 4 | Data Augmentation & Dataset Construction |
| Stage 5 | Class Weight Computation |
| Stage 6 | Focal Loss Definition |
| Stage 7 | Model Construction (build_model) |
| Stage 8 | Two-Stage Training per Backbone |
| Stage 9 | Evaluation: Per-model & Ensemble |
| Stage 10 | TTA Inference Function |
| Stage 11 | Model Reloading (inference-only session) |
| Stage 12 | Interactive Widget Frontend |

## 2.2  Ensemble Architecture

Each backbone independently produces a probability vector over all disease classes. At inference time the vectors are averaged across all loaded backbones and across all TTA views. A confidence threshold gates the final label: predictions below the threshold are reported as 'No Clear Disease'.

### Inference Flow

Image Input

↓  load & resize to 224×224

↓  generate N TTA views (random augmentation)

↓  preprocess per backbone

↓  [ResNet50 | EfficientNetV2B0 | ...] predict each view

↓  average across TTA views  (per backbone)

↓  average across backbones  (ensemble)

↓  argsort -> Top-K labels + confidence scores

↓  apply threshold -> final output

3. DATASET & DIRECTORY STRUCTURE

## 3.1  Expected Folder Layout

The notebook expects images organised in a two-level class-folder hierarchy:

skin_app/

├── train/

│    ├── <class_A>/   <- one folder per disease

│    ├── <class_B>/

│    └── ...

├── test/

│    ├── <class_A>/

│    └── ...

└── checkpoints/   <- auto-created; stores .keras files

## 3.2  Validation Rules

- Both train/ and test/ must exist under DRIVE_ROOT

- The set of class sub-folders must be identical in both splits

- Mismatches raise a ValueError listing the discrepant class names

## 3.3  Dataset Split

| Split | Source |
| --- | --- |
| Training Set | 80% of images in train/ (Keras validation_split=0.2) |
| Validation Set | 20% of images in train/ (same split, no shuffle) |
| Test Set | All images in test/ (no split; shuffle disabled) |

## 3.4  Key Hyperparameters

| Parameter | Value |
| --- | --- |
| IMG_SIZE | 224 × 224 pixels |
| BATCH_SIZE | 32 |
| SEED | 42 (for reproducible splits) |
| AUTOTUNE | tf.data.AUTOTUNE (adaptive parallelism) |

4. DATA AUGMENTATION

## 4.1  Augmentation Pipeline

A sequential Keras augmentation layer is applied only during training. The pipeline introduces controlled geometric and photometric variation to improve generalisation and reduce overfitting:

| Augmentation Layer | Effect |
| --- | --- |
| RandomFlip | Horizontal flips with 50% probability |
| RandomRotation | ±10% of 2π rotation |
| RandomZoom | ±15% zoom in/out |
| RandomTranslation | ±10% shift in both x and y axes |
| RandomContrast | ±15% contrast adjustment |

## 4.2  Test-Time Augmentation (TTA)

During inference the same augmentation pipeline is applied N times (default n_aug = 5) to generate multiple stochastic views of each input image. Predictions across views are averaged before ensemble aggregation. TTA reduces prediction variance and typically improves accuracy by 1-3 percentage points on uncertain samples.

5. MODEL ARCHITECTURES

## 5.1  Backbone Registry

Four pre-trained ImageNet backbones are registered. Two are active by default (ResNet50 and EfficientNetV2B0). Any combination can be selected via the ACTIVE_BACKBONES list:

| Backbone Key | Architecture | Unfreeze Last N | Status |
| --- | --- | --- | --- |
| resnet50 | ResNet-50 | 50 layers | Active (default) |
| efficientnetv2b0 | EfficientNetV2-B0 | 40 layers | Active (default) |
| densenet121 | DenseNet-121 | 40 layers | Inactive (optional) |
| mobilenetv3large | MobileNetV3-Large | 30 layers | Inactive (optional) |

## 5.2  Custom Classification Head

Each backbone is augmented with the same lightweight classification head:

[Backbone CNN]  ->  GlobalAveragePooling2D

->  BatchNormalization

->  Dense(256, relu, L2=1e-4)

->  Dropout(0.5)

->  Dense(NUM_CLASSES, softmax, dtype=float32)

The final Dense layer is explicitly cast to float32 to ensure numerical stability when mixed-precision (float16) training is active on GPU.

6. TRAINING PROCEDURE

## 6.1  Two-Stage Fine-Tuning

Training follows a two-stage transfer-learning strategy that is standard practice for medical imaging tasks:

| Stage | Description |
| --- | --- |
| Stage 1 — Head Training | Backbone frozen entirely; only the custom classification head is trained. Learning rate: 1e-3 (cosine decay). Epochs: 20. Allows the head to converge to a reasonable feature space before backbone weights are adjusted. |
| Stage 2 — Fine-Tuning | Top N layers of the backbone are unfrozen; full network trained at a much lower learning rate: 1e-5 (cosine decay). Epochs: 12. Adapts high-level backbone features to the skin-disease domain while preserving low-level ImageNet representations. |

## 6.2  Optimizer & Scheduler

| Parameter | Value |
| --- | --- |
| Optimizer | AdamW (Adam with decoupled weight decay) |
| Stage 1 LR | 1e-3, CosineDecay over stage-1 steps |
| Stage 2 LR | 1e-5, CosineDecay over stage-2 steps |
| Weight Decay (S1) | 1e-4 |
| Weight Decay (S2) | 1e-5 |

## 6.3  Loss Function

Stage 1 and Stage 2 both use Categorical Cross-Entropy with label smoothing (0.05). Label smoothing prevents over-confident probability estimates and acts as a regulariser. An alternative Focal Loss implementation (gamma=2.0) is also defined in the notebook for experimentation with hard-sample mining.

## 6.4  Class Imbalance Handling

Balanced class weights are computed via sklearn.utils.class_weight.compute_class_weight with strategy='balanced'. Weights are passed to model.fit() as the class_weight argument, causing the optimizer to penalise errors on minority classes proportionally more than errors on majority classes.

## 6.5  Callbacks

| Callback | Behaviour |
| --- | --- |
| EarlyStopping | Monitors val_loss; stops training if no improvement for 6 epochs; restores best weights on stop |
| ModelCheckpoint | Saves the best model (by val_loss) to checkpoints/best_<backbone>.keras after every epoch |

## 6.6  Mixed Precision

When a GPU is detected, the global Keras policy is set to 'mixed_float16', storing weights in float16 for reduced memory and faster matrix multiplications, while accumulating gradients in float32. A bug-fix cast (tf.cast to float32 before preprocessing) prevents half-precision values from leaking into the preprocessing arithmetic.

7. EVALUATION METHODOLOGY

## 7.1  Metrics

- Test Accuracy: fraction of correctly predicted test images per model and for the ensemble

- Classification Report: per-class precision, recall, F1-score, and support (via sklearn)

- Confusion Matrix: heatmap of actual vs. predicted classes on the test set

## 7.2  Evaluation Flow

After training all active backbones, evaluation proceeds as follows:

- Predict probability vectors for the full test set with each trained model

- Average vectors across models to produce ensemble probabilities

- Compute and display accuracy for each individual backbone and the ensemble

- Print the full sklearn classification_report for the ensemble predictions

- Plot a colour-coded confusion matrix for visual error analysis

## 7.3  Training Visualisation

For each backbone and each training stage, accuracy and loss curves are plotted side-by-side using Matplotlib. These plots allow the practitioner to diagnose overfitting, under-fitting, or training instability at a glance.

8. INFERENCE & PREDICTION API

## 8.1  predict_topk()

The primary inference function for the deployment cell. Returns the top-K ranked predictions with confidence scores.

| Parameter | Description |
| --- | --- |
| image_path | str — path to any image file readable by TensorFlow |
| top_k | int (default 5) — number of ranked predictions to return |
| n_aug | int (default 5) — number of TTA augmentation views |
| threshold | float (default 30.0) — minimum confidence % for a valid diagnosis |

Returns: list of (label: str, confidence: float) tuples sorted by confidence descending. If the top-1 confidence is below threshold, the label is replaced with 'No Clear Disease'.

## 8.2  predict_skin_disease_tta()  (training notebook)

A simplified inference function defined in the training notebook. Returns only the single top-1 prediction and confidence, with the same TTA and threshold logic as predict_topk(). Suitable for quick command-line testing.

## 8.3  Inference-Only Session

The notebook includes a dedicated Model Reloading cell that reconstructs the trained dictionary from saved .keras checkpoints without re-running the training pipeline. This allows the inference widget to be launched in a fresh kernel or shared runtime by executing only two cells (reload + widget).

- Priority: final_<backbone>.keras (full post-fine-tuning model)

- Fallback: best_<backbone>.keras (best validation checkpoint)

9. INTERACTIVE WIDGET FRONTEND

## 9.1  Overview

The final notebook cell renders a polished ipywidgets-based user interface directly inside the Jupyter/Colab output pane. It allows non-technical users to upload dermoscopic images and receive ranked predictions without writing any code.

## 9.2  Widget Components

| Component | Function |
| --- | --- |
| Title Banner | Displays project name, number of loaded backbones, and feature flags (TTA, Top-K) |
| Top-K Slider | Adjusts the number of disease candidates shown (1 to min(10, NUM_CLASSES)) |
| TTA Views Slider | Controls the number of augmentation views for TTA inference (1–15) |
| Confidence Threshold | Sets the minimum confidence (%) for a valid label; below this shows 'No Clear Disease' |
| File Upload Button | Accepts one or more image files (accepts image/*) |
| Run Predictions Button | Triggers inference on all uploaded images |
| Output Pane | Renders side-by-side: uploaded image + horizontal confidence bar chart |
| Status Label | Real-time status messages (uploading, processing, done, errors) |

## 9.3  Results Visualisation

For each uploaded image a Matplotlib figure is rendered with two panels. The left panel shows the original image with its filename as a caption. The right panel shows a horizontal bar chart of the top-K predictions in descending confidence order. Bars are colour-coded using a blue palette; the top-1 prediction is highlighted in bold with a star prefix. Confidence percentages are annotated on each bar.

## 9.4  Colour Palette

| Element | Colour |
| --- | --- |
| Primary / Accent | #2A6EBB (deep blue) |
| Bar Palette | #2A6EBB, #4A9FD4, #7DC3E8, #A8D8EA, #C9EBF5 |
| Background | #F7FAFB |
| Card Background | #FFFFFF |
| Body Text | #1A2332 |

10. DEPENDENCIES & ENVIRONMENT

## 10.1  Python Libraries

| Library | Purpose |
| --- | --- |
| tensorflow | Core deep learning framework; model building, training, inference |
| tensorflow.keras | High-level API for layers, datasets, callbacks, preprocessing |
| numpy | Numerical array operations |
| pandas | Class distribution analysis and result tabulation |
| matplotlib | Training history plots and result visualisations |
| seaborn | Confusion matrix heatmap and bar plots |
| scikit-learn | Class weight computation, classification report, confusion matrix |
| ipywidgets | Interactive Jupyter widget frontend |
| IPython | Rich display helpers for widget rendering |
| os, io, base64 | Standard library: file I/O, image encoding |

## 10.2  Hardware Requirements

| Environment | Note |
| --- | --- |
| Recommended | GPU (NVIDIA, CUDA-capable) — required for mixed_float16 and acceptable training time |
| Minimum | CPU only (training will be very slow; inference usable) |
| Google Colab | Runtime > Change runtime type > T4 GPU (free tier sufficient) |
| VRAM | 4 GB+ recommended for batch_size=32 with dual backbones |

## 10.3  Compatibility Notes

- The notebook auto-detects Colab vs. local execution; DRIVE_ROOT adjusts accordingly

- Mixed precision is only activated when at least one GPU is detected

- A float32 cast bug-fix ensures preprocessing never receives float16 tensors

- ImageNet weight downloads include a retry loop (max 3 attempts) for flaky Colab connections

11. CONFIGURATION REFERENCE

## 11.1  Global Constants

| Constant | Description |
| --- | --- |
| DRIVE_ROOT | Root path to skin_app/ folder (auto-set for Colab; override for local) |
| TRAIN_DIR | DRIVE_ROOT/train |
| TEST_DIR | DRIVE_ROOT/test |
| CHECKPOINT_DIR | DRIVE_ROOT/checkpoints (auto-created) |
| IMG_SIZE | 224 (input image resolution in pixels) |
| BATCH_SIZE | 32 |
| SEED | 42 |
| ACTIVE_BACKBONES | ["resnet50", "efficientnetv2b0"] by default |
| EPOCHS_STAGE1 | 20 |
| EPOCHS_STAGE2 | 12 |

## 11.2  How to Add a New Backbone

To register an additional pre-trained backbone, add an entry to BACKBONE_REGISTRY with three keys:

- builder: the Keras Applications class constructor

- preprocess: the corresponding preprocess_input function

- unfreeze_last_n: number of layers from the end to unfreeze in Stage 2

Then add the backbone key string to ACTIVE_BACKBONES and re-run the training cells.

12. KNOWN ISSUES & LIMITATIONS

## 12.1  Technical Notes

| Issue | Detail |
| --- | --- |
| Mixed-precision bug-fix | Without the explicit tf.cast(x, tf.float32) before preprocess_input, certain preprocessing functions receive float16 inputs and produce NaN gradients. This has been fixed in the code. |
| ImageNet download retries | Colab's network can intermittently fail during keras weight downloads. The load_pretrained_backbone() wrapper retries up to 3 times before raising a descriptive error. |
| Colab session reset | Models must be reloaded from checkpoints after any Colab session restart. Use the dedicated Model Reloading cell. |
| Widget multi-upload | The FileUpload widget delivers files as a dict; the code handles both dict (newer ipywidgets) and bytes (older) meta formats for broad compatibility. |

## 12.2  Limitations

- The system is not a certified medical device and should be used only as a decision-support tool

- Classification performance is bounded by dataset quality and class coverage

- Very rare or visually ambiguous conditions may yield low confidence scores

- The confidence threshold (default 30%) requires calibration on a representative validation set for clinical deployment

- No DICOM support; input must be standard image formats (JPEG, PNG, BMP)

13. FUTURE IMPROVEMENTS

## 13.1  Short-Term

- Hyperparameter search (learning rate, batch size, dropout) with Keras Tuner or Optuna

- Integrate Grad-CAM / SHAP saliency maps for explainability of predictions

- Add ROC-AUC and per-class AUROC to the evaluation metrics

- Export models to TensorFlow Lite or ONNX for mobile deployment

## 13.2  Medium-Term

- Integrate all four registered backbones into the active ensemble for higher accuracy

- Calibrate prediction probabilities using Platt scaling or temperature scaling

- Implement uncertainty quantification via Monte Carlo Dropout

- Add a Streamlit or Gradio web interface for browser-based clinical access

## 13.3  Long-Term

- Fine-tune on a multi-site clinical dataset with patient demographic metadata

- Develop a REST API with FastAPI or Flask for integration with hospital information systems

- Conduct prospective clinical validation studies with dermatologist oversight

- Pursue regulatory certification (FDA 510(k) or CE marking) for clinical use

14. GLOSSARY

| Term | Definition |
| --- | --- |
| Backbone | A pre-trained CNN used as a feature extractor (e.g. ResNet50) |
| Transfer Learning | Reusing weights trained on a large dataset (ImageNet) as a starting point for a different task |
| Fine-Tuning | Unfreezing and retraining some or all backbone layers at a low learning rate |
| TTA (Test-Time Aug.) | Applying random augmentations at inference time and averaging predictions to reduce variance |
| Ensemble | Combining predictions from multiple models to produce a single, more accurate output |
| Focal Loss | A loss function that down-weights easy examples, focusing training on hard misclassified samples |
| Label Smoothing | Replacing one-hot targets with soft targets (e.g. 0.95/0.05) to reduce over-confidence |
| Class Weight | Per-class scalar multiplied with the loss to compensate for imbalanced datasets |
| AdamW | Adam optimiser with decoupled weight decay; prevents weight decay from interacting with adaptive gradients |
| CosineDecay | Learning rate schedule that anneals the LR following a cosine curve from initial to zero |
| Mixed Precision | Training with float16 arithmetic and float32 gradient accumulation for speed and memory efficiency |
| Confidence Threshold | Minimum predicted probability (%) required to report a disease label rather than 'No Clear Disease' |

End of Document